# Action Agenda 07-11-05

- Award contracts per bid package #2

- Approve Health & Safety 2005 (Attachment 99)

# Attachment 99 Performance Criteria

# Due at MDE 7/25/2005

General Comments

• School district personnel shall be involved in the process of completing this section. This section

cannot be completed as a “turnkey” process.

• Responsibility for Health and safety belongs at the district level. The task can, in certain

circumstances, be delegated to employees or contractors, but not the responsibility.

• There must be a key district person responsible for each Health and Safety topic. This person is

responsible for understanding Attachments 4 and 99 information.

• Attachment 99 replaces Attachment 4 as a reporting requirement. Only Attachment 99 and not

Attachment 4 shall be reported to the MDE. Attachment 4 should be used by your district to

internally review all Health and Safety programs. MDE is phasing in topics a portion each year until they

are all entirely included. For 2005 Pay 2006, the topics are limited to Indoor Air Quality, Safety

Committees, Laboratory Safety and Confined Spaces. Specific performance criteria are described and

the district must either verify they will meet MDE’s criteria or provide their own. Either way, districts will

be held to their board-adopted performance criteria.  Substituted criteria which is not performance based

is an unacceptable report.

• Districts are required to follow the directions shown below and return the completed, board-certified

Attachment 99 in order to receive H&S funding for 2005 Pay 2006. All H&S new funding will be delayed  until the Attachment 99 is received and verified.

• H&S Management Assistance professionals will key their reporting to the elements in this Attachment.

This is part of MDE’s plan to verify that the district is meeting its performance criteria commitment and

has conducted a hazard assessment and adopted plans for hazard removal, per page 55 of this

Attachment.   A district may not refuse access by a Management Assistance professional to accomplish

this task and the MDE will not process requests for funding approval without a properly completed

Attachment 99. See Attachment 9 for MDE involvement with the Management Assistance program.

Completion Steps for Attachment 99

• District reviews its health and safety hazards, plans/programs to manage them, and this letter and

attachments.

• District reviews Attachment 99, affirms each element by highlighting or otherwise indicating, and

completes all forms accurately. The attachment is designed to be a “turn-around document.”

• School board validates the information on Attachment 99, certifying that the information in the

completed Attachment 99 H&S Performance Criteria will be implemented during fiscal year 2005-

2006. In this manner the board, as the policy-setting authority, recognizes and accepts its

responsibility for Health and Safety in a manner satisfactory to MDE. A copy of the board-approved

minutes and agenda must be attached.

• District returns Attachment 99 in time to arrive at MDE, attn Phil Allmon, or alternatively each region

Management Assistance professional, no later than July 25, 2005. Late submissions are strongly

discouraged.

• Electronic submission is acceptable and is preferred. Otherwise, provide two paper copies with

visible highlighting. Don’t forget to maintain a copy in district files, and to highlight adopted language.

Begin Board-certifying here. General Requirements

The H&S written plans include policies for managing the hazard, assessing for the hazard, training,

and record keeping.

There is a key district person responsible for each Health and Safety topic. This person is

responsible for understanding Attachments 4 and 99 information and the information in the written

plans.

The written plans are current, complete and accurate. They are concise and well organized. They do

not make references to other districts or states, or persons not currently with the district.

In particular, the documentation of training and required reporting is accurate and complete. Training

includes an adequate roster of trainees, is dated, and a syllabus of the training, giving information on

what trainees can be reasonably expected to know or do.

The practice of re-photocopying required reports shall not be allowed. Each report shall have a fresh

printout with fresh signatures and dates.

Part I Attachment 99 Performance Criteria – IAQ Management Plan

A. IAQ Coordinator – required in plan

A person meeting criteria in Attachments 3 and 7 has been appointed as the districts IAQ coordinator

Communication pathway has been established to notify district staff, parents, and students, who the

IAQ Coordinator is and how to contact him/her.

IAQ coordinator’s role and authority shall be clearly defined and understood by district employees,

such that he/she can operate effectively.

The IAQ Coordinator’s name and certificate number are:  Tim  Rybak I 1524.

B. Walk-through performed (required in plan)– Walkthroughs shall be performed at least annually on

all school buildings in the district that houses students and/or employees and shall evaluate the following:

Obvious water intrusion problems (interior and exterior)

Obvious ventilation failures and/or problems

Obvious building/structural failures and/or problems

Overall cleanliness of buildings and classrooms

Assess the need for O&M programs (e.g. ventilation, carpet, building compounds)

C. Evaluation of key building systems- required in plan

District shall evaluate all classrooms using equivalent* to the EPA’s Tools For Schools Teacher’s

Checklist at least annually.

District shall evaluate ventilation systems using equivalent* to the EPA’s Tools For Schools

Ventilation Checklist at least annually. Activity 22 may be excluded here.

District shall evaluate all building maintenance issues using equivalent* to the EPA’s Tools For

Schools maintenance checklist at least annually.

* Equivalent means that each element of each topic is included to the depth described in TFS.

If there is a significant departure, an explanation shall accompany the plan.

D. IAQ Management Plan (required in plan) - District shall develop and implement an effective district

specific IAQ management plan that shall at a minimum have the following elements:

Identification of IAQ Coordinator

Communication plan/policy that is specific to the district

Complaint plan/policy that is district specific

Plan/policy to address district IAQ issues observed and/or noted during the walk through or through

the building systems evaluation process

Implementation schedule that prioritizes and allocates expenditures to remediate known IAQ issues

such as deferred maintenance items (e.g. roof leaks)

Operations and maintenance plan to maintain building components and mechanical systems

District policies that are established that affect air quality (animals, cleaning, renovation projects, pest

management, chemical use, etc.)

Annual review of district IAQ Management Plan by IAQ Coordinator and/or IAQ Committee, and

school board. This includes a review of all documentation to ensure the plan is indeed district specific

and current.

E. District responses to parental concerns--required in plan

Parents know where to go to find answers to their IAQ questions.

Parents can obtain checklists or self help information so they can properly evaluate their child’s home

or other out of school situation.

Parents can obtain information about school facility construction, maintenance and housekeeping

practices, chemicals used, mold and HVAC related information, chemical producing academic

subjects, pesticides and herbicides and the like to determine the extent to which school activities

contribute to a child’s symptoms.

Parents can obtain information on what a parent can do – how they can effect change – upon

discovering questionable activities occurring within schools.

F. Mechanical Ventilation improvements if funded under either H&S or Alternative Facilities

Bonding and Levy programs

All mechanical ventilation improvements shall result in demonstrated current performance criteria as

found in state law, statute or rule, to include proper amount of ventilation rate over a specified outside

temperature range, proper filtration, and ability to measure ventilation rate.

Any commissioning resulting from mechanical ventilation improvements shall be done and validated

by a Systems Inspector per M.S. 123B.72 that has adequate errors and omissions insurance.

Mechanical ventilation improvement work funded under H&S shall remain under warranty by the

outside party until a full range of seasons has occurred, allowing any deficiencies to become manifest

and be corrected.

G. M.S. 123B.57 responsibility to “…monitor and improve the quality of indoor air...”

The district shall determine the mechanical ventilation rate of each occupied space and plan and

implement its improvement in a timely manner where found to be inadequate. Use of outside air

intake flow hood for unit ventilators or CO2 or thermal-based calculations found in ASHRAE 62-1989

56 with controls set to minimal outside air settings are adequate. Intended to satisfy TFS Ventilation

Checklist Activity 22. This activity does not have to be done to receive HS& funding.

The district shall determine if there is mold or water intrusion for each occupied space and plan and

implement its remediation in a timely manner where found to exist. Visual inspections are adequate.

The district shall determine the quality of air entering the building and make improvement where

needed. Use of human senses is adequate.

The district shall monitor the use of chemicals, cleaning materials, carpet maintenance (if applicable)

pesticides and general housekeeping to ensure proper indoor air quality. Use of human senses is

adequate.

Attachment 99 Performance Criteria – Safety Committees

A district safety committee shall be established where the district exceeds 25 employees or is

experiencing excessive lost workdays or accident/incident rates.

Written statements shall be developed describing safety committee role, responsibilities, activities

and administrative support.

Role of safety committee shall be stated, and shall include consideration of the following:

-- Review high hazard areas of health and safety for adequacy of program protection.

-- Monitor the effectiveness of the safety and health program. Assist administrators, H&S

coordinators and supervisors on district/school H&S issues. Bring committee recommendations

to school board.

-- Everyone in district needs to know they should contact members of safety committee FIRST for

H&S issues.

There shall be greater employee representation than management, with each bargain unit

represented. The safety committee member list shall be posted.

The number of employee representatives on the committee shall equal or exceed the number of

management representatives. The safety committee members shall be made known to all district

staff.

The safety committee shall meet at least quarterly.

An agenda shall be established prior to meeting. Attendance and minutes shall be recorded. A

report of activities shall be posted where all employees have access to it.

The chair shall be elected by the committee and identified by name.

Training shall be provided to safety committee members as to their roles and responsibilities.

Meeting activities shall include consideration of these activities:

-- Establish annual safety goals and objectives for meeting those goals

-- Conduct and/or review safety inspections

-- Assist in accident investigation.

-- Review accident reports and OSHA 300 logs.

-- Accept and evaluate employee suggestions. Make reporting uncomplicated, keeping reporters at

ease.

-- Review job procedures and recommend improvements

-- Monitor safety program effectiveness

-- Publicize and promote safety and health

School board shall review the program annually.

Attachment 99 Performance Criteria – Laboratory Safety Standard and Chemical Hygiene Plan

There shall be a written and current Chemical Hygiene Plan for all laboratories, per OSHA Laboratory

Safety Standard 29 CFR 1910.1450.

The Chemical Hygiene Officer (CHO) shall be identified for each laboratory. His or her names are:

Greg Sayler, Chemistry Instructor, New Prague Area High School.

The CHO shall be responsible for developing and reviewing at least annually chemical handling,

storage labeling and disposal procedures (SOPs).

The CHO shall be responsible for reviewing at least annually lab activities to ensure safe procedures

are used.

The CHO shall review stored chemicals annually and remove unused or excess amounts.

The CHO shall be responsible for developing and reviewing at least annually engineering controls

(e.g. ventilation, chemical storage, fume hoods, gas lines and shutoff, fire prevention, eye-wash and

deluge shower)

The CHO shall be responsible for developing and reviewing at least annually personal protective

equipment (PPE) needs (e.g. eye protection, gloves, splash guards, gowns). Included are ensuring

students do not wear dangerous clothing (e.g. rings, chains, unsafe shoes, un-bound hair).

The CHO shall be responsible for developing and reviewing at least annually necessary training for

lab employees and ensure that safety is adequately included in curriculum.

The CHO shall be responsible for developing and reviewing at least annually record keeping

practices and procedures, to include chemical inventory, MSDS sheets, monthly checks of safety

equipment and implementing MDE and other safety checklists.

Attachment 99 Performance Criteria – Lockout/Tagout (LO/TO)

District shall develop and implement a Written Management Plan for Lockout/Tagout, encompassing

OSHA standard 29 CFR 1910.147, explaining procedures for implementing Lockout/Tagout for each

area for each building where LO/TO hazards exist.

The district administration shall identify school district Contact Person(s) for Lockout/Tagout zones.

The district administration shall survey the facility at least annually to identify energy potential

physical hazards that require Lockout/Tagout.

The district administration shall train affected employees on proper Lockout/Tagout methods and

techniques at least annually.

The district administration shall identify and procure Lockout/Tagout locks, tags and other devices.

(List locations of equipment)

The district administration shall evaluate Lockout/Tagout record keeping practices and procedures at

least annually.

Procedures are in place to inform contractors of Lockout/Tagout requirements

Specific energy controls are developed when required.

The district administration shall evaluate current Lockout/Tagout procedures at least annually.

Attachment 99 Performance Criteria – Confined Spaces

Review program and obtain school board approval at least annually.

Confined Space Standard

District shall develop and implement a Written Management Plan for Confined Spaces, encompassing

OSHA standard 29 CFR 1910.146, explaining procedures for implementing Confined Spaces for each

area for each building where Confined Spaces hazards exist.

The district administration shall identify school district Contact Person(s) for Confined Spaces permit

and non-permit zones.

The district administration shall survey the facility at least annually to identify Confined Spaces

physical hazards per the standard that require Confined Space entry procedures, using the criteria

found at http://www.osha-slc.gov/dts/osta/oshasoft/csa.html.

The district shall determine the location of all Confined Spaces, and which are Permit Required

Confined Spaces using the criteria found in Attachment A of the standard.

Using the criteria found in 1910.146(c)(5), the district shall determine which Permit Required spaces

need not comply with paragraphs (d) through (f) and (h) through (k) of the standard.

For Permit Required spaces that need not comply with paragraphs (d) through (f) and (h) through (k)

of the standard, the district shall establish and maintain monitoring and inspection data that will

demonstrate that continuous forced air ventilation alone is sufficient.

For Permit Required spaces where the district has not established and maintained monitoring and

inspection data that will demonstrate that continuous forced air ventilation alone is sufficient, the

district shall implement paragraphs (d) through (f) and (h) through (k) of the standard.

The district shall establish a properly trained and provisioned Permit Required Confined Space rescue

and emergency service that will become activated whenever a person enters a Permit Required

Confined Space.

The district shall carry out practice Permit Required Confined Spaces rescues at least once every 12

months, as called for under paragraph (K) of the standard.

District shall inform Confined Spaces entrants of information called for in the standard, how they may

communicate with persons outside the Confined Spaces and what steps they should take if they

should develop a medical emergency while in the Confined Spaces (e.g. heat stress, electrocution,

burns, heart attack, etc.).

The district shall inform any outside contractor doing work in a Confined Space that the workplace

contains permit spaces and that permit space entry is allowed only through compliance with a permit

space program per 1910.143.

Individual Hazards Identified In H&S Management Assistance Reports

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| PS- Buildingwide | Evacuation maps | No evacuation maps posted | Post evacuation maps | FY 06 |
| PS- Kitchen | Hobart mixers (2) | Exposed blades on mixers (2) | Install blade guards on mixers (2) | FY 06 |
| PS- Boiler Room | Eyewash | Eyewash not flushed on a regular basis | Eyewash will be flushed weekly | FY 06 |
| PS- Portable Classroom | Power strips | Daisy-chaining of power strips not allowed | Purchase new power strips with longer cords | FY 06 |
| IS- Room 153A | Extension cord | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| IS- Room 153A | Power strips | Daisy-chaining of power strips not allowed | Purchase new power strips with longer cords | FY 06 |
| IS- Kitchen | Hobart mixer | Exposed blades on mixer | Install blade guards on mixer | FY 06 |
| IS- Kitchen | Univex mixer | Exposed blades on mixer | Install blade guards on mixer | FY 06 |
| IS- Kitchen | Extension cord | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| IS- Boiler Room | Wooden ladder | Wooden ladder is damaged and unstable | Replace ladder | FY 06 |
| IS- Room 151 | Extension cord | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| IS- Room 151 | Cheater plug | Cheater plug in use | Discard cheater plug | FY 06 |
| IS- Gym | Asbestos pipe insulation | Damaged asbestos pipe insulation | Repair pipe insulation | FY 06 |
| IS- Media Center Computer Lab | Electrical outlet | Missing outlet cover | Replace outlet cover | FY 06 |
| IS- Media Center | Extension cord | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| IS- Media Center Store Room | Power strips | Daisy-chaining of power strips not allowed | Purchase new power strips with longer cords | FY 06 |
| IS- Media Center Store Room | Flat extension cord | Flat extension cord Ungrounded | Remove flat ungrounded extension cord replace with round grounded cord | FY 06 |

Individual Hazards Identified In H&S Management Assistance Reports

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| MS- Buildingwide | Evacuation maps | No evacuation maps posted | Post evacuation maps | FY 06 |
| MS- Kitchen | Garbage disposal | Unguarded disposal blades | Install garbage disposal guard | FY 06 |
| MS- Kitchen | Univex mixer | Exposed blades on mixer | Install blade guards on mixer | FY 06 |
| MS- Kitchen | Power strip | Damaged power strip | Replace power strip | FY 06 |
| MS- Stage | Electrical panel | Not 36” clear access in front of electrical panel | Clear access in front of electrical panel | FY 06 |
| MS- Stage | Fire Extinguisher | Not clear access to fire extinguisher | Clear access to fire extinguisher | FY 06 |
| MS- Art N101 | Paper Cutters (2) | Unguarded paper cutters (2) | Guard or replace paper cutters (2) | FY 06 |
| MS- Room 105 | Power strips | Daisy-chaining of power strips not allowed | Purchase new power strips with longer cords | FY 06 |
| MS- Greenhouse off of Room 105 | Refrigerator | Unlabeled refrigerator | Label refrigerator | FY 06 |
| MS- W118 | Bench Grinder | Tongue guard not within ¼” of wheel | Adjust tongue guard to within ¼” of wheel | FY 06 |

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| MS- W118 | Rockwell Bandsaw | Unguarded blade below table | Guard blade below table | FY 06 |
| MS- W118 | Delta Bandsaw | Unguarded blade below table | Guard blade below table | FY 06 |
| MS- W118 | Paper Cutter | Unguarded paper cutter | Guard or replace paper cutter | FY 06 |
| MS- W118 | Power strips | Daisy-chaining of power strips to extension cord not allowed | Purchase new power strips with longer cords | FY 06 |
| MS- FACS W116 | Extension cord | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| MS- FACS W116 | Multi-plug adapters | Multi-plug adapters are not to be used | Replace multi-plug adapters with fused power strip | FY 06 |
| MS- Room W119 | Power strips | Daisy-chaining of power strips to extension cord not allowed | Purchase new power strips with longer cords | FY 06 |
| MS-Boiler Room | Floor openings (4) | Fall in to Floor Openings | Guard or cover floor openings (4) | FY 06 |
| MS-Boiler Room | Blue extension cord | Damaged blue extension cord | Replace blue extension cord | FY 06 |
| MS-Computer Lab | Power strips | Daisy-chaining of power strips to extension cord not allowed | Purchase new power strips with longer cords | FY 06 |

Individual Hazards Identified In H&S Management Assistance Reports

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| HS- Building wide | Evacuation maps | No evacuation maps posted | Post evacuation maps | FY 06 |
| HS- Construction trades | Overhead door | No auto reverse mechanism on door | Install auto reverse mechanism or pressure switch on door | FY 06 |
| HS- Construction trades | Drill press | Drill press not bolted down | Bolt drill press to floor | FY 06 |
| HS- Construction trades | Electrical drop cords | Drop cords are knotted | Unknot or shorten drop cords | FY 06 |
| HS- Small engines | Extension cord wrapped around pipes | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| HS- Small engines | Extension cord travels through wall | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| HS- Small engines | Exit door | Exit door access blocked | Clear access around exit | FY 06 |
| HS- Small engines | Fire extinguisher | Not clear access to fire extinguisher | Clear access to fire extinguisher | FY 06 |
| HS- Small engines | Eye wash | Not clear access to eye wash | Clear access to eye wash | FY 06 |
| HS- Metals | Electrical panel | Not 36” clear access in front of electrical panel | Clear access in front of electrical panel | FY 06 |

Individual Hazards Identified In H&S Management Assistance Reports

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| HS- Metals | Exit door | Exit door access blocked | Clear access around exit | FY 06 |
| HS- Metals | Compressed gas cylinder | Compressed gas cylinder not chained to wall | Chain compressed gas cylinder to wall | FY 06 |
| HS- Metals | Fire extinguisher | Not clear access to fire extinguisher | Clear access to fire extinguisher | FY 06 |
| HS- Metals | Bench grinder | Tongue guard not within ¼” of wheel | Adjust tongue guard to within ¼” of wheel | FY 06 |
| HS- Metals | Bench grinder | Work rest not within 1/8” of wheel | Adjust tongue guard to within 1/8” of wheel | FY 06 |
| HS- Receiving Room | Overhead door | No auto reverse mechanism on door | Install auto reverse mechanism or pressure switch on door | FY 06 |
| HS- Receiving Room | Box fan | Damaged guard on box fan | Replace box fan if needed | FY 06 |
| HS- Room 217 | Eyewash | Eyewash not working properly | Repair eyewash | FY 06 |
| HS- Stage | Electrical panel | Not 36” clear access in front of electrical panel | Clear access in front of electrical panel | FY 06 |
| HS- Stage | Fire extinguisher | Not clear access to fire extinguisher | Clear access to fire extinguisher | FY 06 |

Individual Hazards Identified In H&S Management Assistance Reports

| Location | Equipment | Brief Description of Hazard | Work to be accomplished | Anticipated Completion |
| --- | --- | --- | --- | --- |
| HS- Art 61 | Extension cords going to pottery wheels | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| HS- Art 61 | Fire extinguisher | Not clear access to fire extinguisher | Clear access to fire extinguisher | FY 06 |
| HS- Art 61 | Extension cord going to kiln fans | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| HS- Art 61 | Electrical cord | Damaged electrical cord on pottery wheel #5 | Replace electrical cord | FY 06 |
| HS- Kitchen | Garbage disposal | Unguarded disposal blades | Install garbage disposal guard | FY 06 |
| HS- Kitchen | Extension cord going to salad bar and deli | Extension cord used as substitute for permanent wiring | Remove extension cord and add outlets as needed | FY 06 |
| HS- Boiler Room | Floor opening | Fall in to Floor Opening | Guard or cover floor opening | FY 06 |
| HS- Boiler Room | Eyewash | Eyewash not working properly | Repair eyewash | FY 06 |
| HS- Boiler Room | Eyewash | Eyewash not flushed on a regular basis | Flush eyewash regularly | FY 06 |
| HS- Room 209 | Ventilation | Inadequate ventilation | Provide adequate ventilation | FY 06 |

Date: 			June 27, 2005

School District: 		New Prague Area Schools

Person Affirming: 	Tim Rybak

Signature:

Telephone with ext. 	(952) 758-1581

I affirm that the following is an accurate, board-approved summary of this school district’s current Health and Safety program, submitted in accordance with Minn. Stat. § 123B.57 regardless of whether or not funding is requested. A copy of the school board minutes is attached.

Additional comments:

# INDOOR AIR QUALITY

PLAN

New Prague Area Schools

ISD #721

301 Lexington Avenue South

New Prague, MN 56071

Regulatory Coordinator:								Telephone:

Tim Rybak, Operations Director							952-758-1581

New Prague Community Schools

# trybak@np.k12.mn.us

Issue Date:		May 8, 2001

Review Dates:	May 26, 2005

Board Approval:	October 25, 2004

# INDOOR AIR QUALITY MANAGEMENT PLAN

NEW PRAGUE AREA SCHOOLS

A.	Introduction

A healthy environment consists of many factors, including indoor air quality.  When

all factors are aligned and working properly, the building environment contributes to

the productivity and performance of students and staff.  The Indoor Air Quality

Management Plan has been developed to provide guidance to maintain high indoor air

quality standards.

Purpose of Indoor Air Quality Management Plan

The IAQ Plan provides information to students, parents and staff regarding the general procedures employed by the District to maintain high indoor air quality standards and the process to follow if concerns arise.  Students, staff, and parents will be informed through various means, including district newsletters, building newsletters and presentations.  The IAQ plan will be reviewed and updated on an annual basis to reflect changes in regulations, maintenance procedures, or other IAQ changes.

General Objectives

To provided the appropriate levels of outside air as prescribed by building

Codes and regulatory agencies.

To maintain the optimum air quality by establishing processes to resolve

indoor air quality concerns.

To pro-actively manage heating, ventilation and air conditioning (HVAC) systems.

4.         To identify district staff that will be responsible to address and monitor indoor air

quality issues.

### Indoor Air Quality Areas

IAQ concerns can arise from various sources and for various reasons.  Inadequate

air exchange, molds, dust mites, chemical fumes and construction fumes may generate indoor air quality concerns.  In addition, the IAQ plan may include area such as pest control, radon and asbestos if in the event these issues lead to indoor air quality concerns.

### Indoor Air Quality Management Team

All district staff is considered part of the indoor air quality management team.  Each person plays a role in identifying problems that may exist and is responsible for contacting the appropriate individual(s) to ensure the problem is resolved.

The Indoor Air Quality Coordinator will be the district’s Director of Operations

The IAQ Coordinator will provide leadership to maintain a high awareness of IAQ issues within the District and will coordinate a plan of action to resolve the problems identified.

The district’s Environmental Management Coordinator and other professional personnel will assist the IAQ Coordinator to ensure the regulatory mandates and requirements are addressed.

3.        Building principals and head custodians will assist with the identification of

site specific issues and recordkeeping.

The District’s safety committee will review the Indoor Air Quality

Management Plan and review actions taken to resolve indoor air quality

issues.  Safety committee members also serve as IAQ contacts for their

building.  They can field concerns and direct staff members to the

appropriate resource personnel.

The IAQ coordinator will attend such training sessions as deemed necessary to ensure the District remains current on IAQ issues.  The IAQ coordinator will coordinate training for other district personnel as appropriate.

6.	The School Board will approve the IAQ plan and funding for major

projects.

### Procedure for Investigation of IAQ Complaints and Concerns

The following describes the general process to be followed when potential indoor air

quality problems is identified:

- The individual with the concern is to contact the Building Principal and/or

Head Building Custodian to provide the District with information about the nature of the concern.  If appropriate, the individual will be asked to complete a form to gather the information needed to begin the assessment process. (Appendix A)

- The Head Building Custodian will contact the IAQ coordinator to facilitate an assessment.

- Following the initial assessment, the IAQ Coordinator may review the concern with the District’s Environmental Coordinator before developing a plan for further investigation and/or remediation.

- If major repairs are needed, the plan will be reviewed by the Director of Finance/Human Resources to confirm plans and costs.  Otherwise, the IAQ Coordinator will proceed with the corrective action.

- If necessary and appropriate, the IAQ Coordinator will submit costs for Health and Safety funding after reviewing the corrective action plan.   The work will be scheduled and the appropriate individuals contacted.

- The individual who filed the complaint will be provided with a written response summarizing the findings of the investigation and describing the actions that will be taken.

### Maintenance and Operating Plan

  - HVAC systems include all heating, cooling and ventilating equipment serving a school.  Boilers or furnaces, chillers, cooling towers, air handling units, exhaust fans, ductwork and filters are all part of the the HVAC systems for a building.

  - A proactive HVAC management plan is a key to providing good indoor air quality.  A properly designed and functioning HVAC system should provide the following functions.

    - Control temperatures and relative humidity to provide thermal comfort.

    - Distribute adequate amounts of outside air to meet ventilation needs of school occupants.

    - Isolate and remove odors and other contaminants.

Not all HVAC systems in place are designed with the features that will maximize the objectives as listed above.  The district will update HVAC systems when feasible to better accomplish these goals.

  - Maintenance and Operation Information

    - Supervisor of Buildings and Grounds will detail the type of systems used in each building, location of equipment and other HVAC information.

    - HVAC components will be regularly scheduled for maintenance and records of the maintenance kept at each building.

    - Each Head Building Custodian will maintain a record of daily system operation schedules, maintenance and repair records, testing and balancing reports and inspections.

    - The Supervisor of Building and Grounds will work with the Assistant Superintendent to schedule major repairs and replacements within state funding guidelines.

  - Training

The IAQ coordinator will coordinate with the District’s Environmental Management Consultant to provide custodial and maintenance staff with periodic training on preventive maintenance and troubleshooting of indoor air quality problems.  The training will provide information to assist staff to recognize, prevent and resolve IAQ problems.

  - The IAQ coordinator and Environmental Management Coordinator will make an annual review and inspect facilities for IAQ issues.

### H.	.Indoor Air Quality Plan Implementation

- The district will periodically update the testing and initiate remediation based on the availability of Health and Safety funding.

- Annual building walkthroughs are completed by Health/Safety consultant using the form found in Appendix B.

3.	Annual IAQ surveys are sent out to each classroom teacher requesting feedback

various issues such as temperature, water intrusion, odors, etc. The teacher survey

is found in Appendix C.

Through the process of annual review and inspection of facilities, the District will

ensure that all components are in place and consistent with state and other agency

regulations.

I.	Indoor Air Quality Improvement Plan

2003-2004 School Year

1. 	Carpet replacement scheduled in Intermediate room 31 based on

recommendation from Health/Safety consultant.

### Animals in Classroom Policy

Since animals can be a source of allergens, asthma triggers, and microorganisms that can cause infectious diseases, the New Prague Area School District has instituted an animal plan. Animals should be kept in an appropriate habitat when not used being used for education. They should be kept away from carpeted areas in order to minimize the transfer of allergens to the carpets, and the possibility of soiling the carpet.

Specific types of animals will be restricted if a concern is expressed by staff, students or parents. The district reserves the right to ban certain animals if they pose a threat to the safety or comfort of staff and students.  An animal request form is found in Appendix D.

ANYONE WITH QUESTIONS SHOULD CONTACT:

Tim Rybak, Director of Operations					952-758-1581

Craig Most, Director of Buildings and Grounds				952-758-1480

##### Paul Baer, Environmental Management Coordinator 			800-872-1260

Phil Allmon, Dept of Education						651-582-8201

# Appendix A

###### Indoor Air Quality Concern Form

This form should be used if your concern may be related to indoor air quality.  Indoor air quality problems include concerns with temperature control, ventilation and air pollutants.  Your observations can help to resolve the problem as quickly as possible.

Name: _____________________________			Date: ________________________

Building: ____________________________		Phone: _______________________

Location of Concern in Building: __________________________________________________

Please circle your appropriate identification:

Employee	Parent		Visitor		Volunteer	Student	Other____________

We may need to contact you to discuss your concern.  What is the best time to reach you?

SYMPTOMS

What kind of symptoms or discomfort are you experiencing?

Are you aware of other people with similar symptoms or concerns?		Yes ____      No ____

If so, what are their names and locations?

_______________________________________		______________________________

TIMING

When did your symptoms start?

When are they generally worse?

Do they go away?  If so, when?

Have you noticed any other events (such as weather events, temperature or humidity changes, or activities in the building) that have a tendency to trigger you symptoms?

General Comments

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Appendix B

Indoor Air Quality Building Walkthrough

Checklist

Client Name:			Performed By:

Building Name:					Date:

Instructions:  Walkthrough every room in building including store rooms, mech. rooms, etc.  Also inspect outside of building including roof.  When a concern is identified, place it in the appropriate category and use comment/solutions area to recommend corrections.

1.	Obvious Water Intrusion (interior and exterior) – Stained ceiling tiles, wet floor, cracks in walls, floors, roof leaks, standing water in tunnels.

Item		Location				Comments/Solutions

A.

B.

C.

D.

E.

F.

G.

H.

I.

2.	Obvious Ventilation Failures and/or Problems – Outdoor Air (OA) intake obstructed, filters dirty wrong size, heating/cooling coils dirty, drain pan dirty, interior of unit and/or ductwork dirty, OA damper not working, airflow blocked, relief dampers (roof), transfer grates blocked not working, exhaust fans not working.

Item		Location				Comments/Solutions

A.

B.

C.

D.

E.

F.

G.

3. Obvious Building/Structural Failures and/or Problems – Sagging roofs, cracks in walls and floors, missing

or loose mortar (tuckpointing).

Item		Location				Comments/Solutions

A.

B.

C.

D.

- Overall Cleanliness of Buildings and Classrooms – Garbage cans not emptied, dirt mats not cleaned, floors not swept, carpets not vacuumed, animal cages not cleaned.

Item		Location				Comments/Solutions

A.

B.

C.

D.

E.

F.

- Assess the Need for O&M Programs - (ex. ventilation, carpet, building compounds)

Item		Location				Comments/Solutions

A.

B.

C.

D.

E.

F.

- Other Areas of Concern – Temperature concerns, odor concerns, etc.

Item		Location				Comments/Solutions

A.

B.

C.

D.

Appendix C

Indoor Air Quality (IAQ) Survey

The DCFL is requiring all teachers respond to an IAQ survey on an annual basis.

Please indicate with an X any items which you have a concern with. Please respond

by February 8, 2003.  You may email this back to me as an attachment or print out and send back to me   Thank you for your cooperation

Cheryl Malecha

Name:

Building:

Room:

Date:

____ 1. My classroom is not swept or vacuumed regularly.

____ 2. Trash is not removed regularly.

____ 3. Spills on carpet are not cleaned properly and dried within 24 hrs.

____ 4. Animal cages are not cleaned regularly.

____ 5. Animal cages are not located away from ventilation system vents.

____ 6. Fog or condensed water is found on windows or other cold surfaces.

____ 7. Roof leaks or stained ceiling tiles are present in my room.

____ 8. My classroom temperature is generally not between 68-76 during the heating season.

____ 9. There is direct sunlight shining on my students.

____10.There is  not continuous air flow coming from the ventilation system vents (use tissue

paper if unsure).

____11.Air flow is blocked in my classroom.

____12.There are odors (chemical, food, mold, vehicle exhaust) in my classroom.

____13.Fume hoods and local exhaust fans (if present) do not work properly.

____14.Chemical storage areas (chemistry, art, ind. arts.) are  not separate from my classroom.

____15.Locker rooms do not have adequate exhaust to remove odors and moisture.

____16.Locker rooms do not have wet towels removed regularly.

____17.Other:

____18.Other:

___  19.I have no IAQ concerns at this time.

Please respond no later than February 8, 2003

Thank you

Cheryl Malecha

Appendix B

New Prague Community Schools

# Request for Animals in the Classroom

School _____________________________________		Date _____________

Staff Person _________________________________     Room # _____________________

Type of animal(s) to be used in classroom ______________________________________

Number of animals ______________

Date animal is to be brought into classroom __________________________________________

Date animal is to be removed from classroom _________________________________________

Are animal’s vaccinations up to date?  Yes _____     No_____    N/A ______  If no, animal will not be allowed into the building.

Who will be responsible for cleaning cages? __________________________________________

What is the educational purpose of having the animal in your classroom?

Request Approved ________		     Denied _________

Site Administrator Signature _______________________________	Date _____________

| AS DISTRICT POLICY STATES: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Use alternatives to animals if possible. Request in writing permission from the building administrator. Agree to clean cages daily (including vacations and holidays) dispose of waste properly (double bagged and removed to outside dumpster immediately). Locate animals away from ventilation systems to avoid circulating allergens. Students sensitive to animals will be located away from animals and habitats. If an administrator feels that the animals in the classroom are not in the best interest of the district the animal must be removed from the classroom. Visiting animals are not allowed. |

Staff Person Signature ______________________________________	Date _____________

## THIS REQUEST FORM MUST BE POSTED NEXT TO ANIMAL CAGE

- Approve Strategic Plan: Technology

Technology Strategic Plan

Draft

|  |  | Desired Outcomes | Action 2004-2005 | Action 2005-2006 | Action 2006-2007 |
| --- | --- | --- | --- | --- | --- |
| CURRICULUM AND INSTRUCTION |  |  |  |  |  |
|  | INTEGRATION | There will be a common definition and understanding of integration by all staff as developed by the district tech committee. | Develop the definition | Communicate definition to staff. Model teaching examples. | Encourage peer sharing of integration techniques. |
|  |  | There will be a common definition and understanding of technology by all staff as developed by the district tech committee. | Develop the definition and list | Communicate definition and list to staff. |  |
|  |  | There will be no violations by students or staff of the School Board approved acceptable use policies related to technology. | Research legal implications | Develop and conduct a student and staff survey about acceptable use with technology. | Educate staff Educate students Posted copies of policies Communicate parameters for use of available software/material |
|  |  | Instructional staff will acquire varied instructional skills and approaches utilizing technology in order to meet learner needs. | Include in curriculum cycle process Discuss Intel training opportunity and reach consensus about: Desirability Cost impact Timeline for implementation Develop job description for integration specialist | Encourage peer sharing of examples Showcase and reward best practice Offer workshop opportunities Possible Intel Training of Int. Specialist and Planning Activities Hire integration specialist | Possible Intel Training Conduct a satisfaction survey amongst teachers relative to the integration specialist position |
|  | STANDARDS | All NP graduates will achieve a standard level of competency in technology use. |  | Establish student outcomes for each course/grade level K-12 through the curriculum cycle process All curricular areas will identify technology standards within their scope & sequence for reinforcement or as a prerequisite. | The standards, their reinforcement, and their mastery will be mapped. |
|  |  | All instructional staff will achieve a standard level of competency in technology use. | Establish staff outcomes. Develop a technology competency assessment for the hiring process. | Assess current skill levels and offer opportunity for growth. | Same |
|  | ENRICHMENT | Students will have the opportunity to explore advanced technology skills. |  | Prepare classes for registration. Increase exploratory clubs/classes | NPHS will offer programming, networking, hardware, etc. |
| ACCESS AND ACQUISITION | ACCESS | Students and staff will have increased physical access (time, home-school connection and equipment/person ratio) to resources. | Decrease the student/Computer ratio: Purchase computers (lab replacement every 8 years) | Online resources, laptops, etc. Increased hours available in the computer lab. |  |
|  |  | Resources will be allocated to provide for adequate storage needs including teacher and student files/portfolios. |  | Conduct an audit of status and needs Server space / hubs / bandwidth / etc. |  |
|  | SUPPORT | Reduce the negative impact of mechanical failure toward the users/computer ratio | Hire ¾ Technician Educate staff basic do’s and don’ts/trouble shooting Create shelf stock to minimize down time Create technician handbook which includes regular maintenance and procedures Assess condition of equipment and replace as needed | Plan for effective support in new buildings. Student technicians |  |
|  |  | NP schools will have access to high quality technology tools. |  |  |  |
|  |  | Access classroom technology needs |  | Conduct survey (utilize Taglit Survey) |  |
|  |  | Increase funding sources for technology so as to diminish the impact on the operating funds. | Research grants Consider a levy | Is there a business partnership that can be developed | Devote one day to searching for other alternatives |
|  | COMMITTEE | The district technology committee will be balanced with staff representation of intense and occasional users. |  |  |  |
| ADMINISTRATION | SYSTEMS MANAGEMENT | All data management systems will be managed to minimize the use of resources, creating maximum efficiency. | Interoperability framework More paperless forms ILL |  |  |
|  |  | All staff will be trained as to the use of appropriate databases. | Skyward, etc. |  |  |
|  |  | Increase instructional support for teachers toward integration of technology | Create staff development opportunities | Review & access technology training for new hires Seek new employees in the hiring process that have advanced technology skill Provide teaching assistance in lab settings as needed | Review & access technology training for new hires Seek new employees in the hiring process that have advanced technology skill Provide teaching assistance in lab settings as needed |
|  |  | Maximize the utilization of computer labs | Create computer labs schedule building by building | May need to add labs and look at total costs |  |
|  |  |  | Provide opportunities for student to student assistance | Continue/Utilize high school students of IS and PS. HS students to go through interview process |  |
| TECHNICAL SUPPORT |  |  | Create 4-5 staff training opportunities per school year. |  |  |
|  |  | All administrators will achieve a standard level of competency in technology use. | Establish administrator outcomes. |  |  |
|  |  | Use technology best practices as it relates to security | Evaluate and maintain network security systems |  |  |
|  |  | Determines a minimum level of access for students with respect to each media center and classroom | Establish a summer meeting to discuss media programs K-12 |  |  |
|  |  | Establish a forum for communication between the school district and other points of access to information. | Create a plan and report to administration |  |  |
|  |  | Increase Data Storage capacity | Purchase hardward | Purchase hardward |  |
|  |  | Increase availability to tech support. | Roles & responsibilities | Training student techs Compare to other districts (staffing) |  |
|  |  | Insure that technology purchases are compatible with existing technologies. | Involvement in tech acquisitions Upgrades / planning / communicating / budgeting |  |  |
|  |  | Maintain uniform hardware and software platforms. | Machine standards |  |  |
| POLICY AND PROCEDURE |  | Maintain the student/computer ratio through district growth |  |  |  |
|  |  | Administrators, teachers, staff, and students will understand and implement the policies, procedures, and philosophy of the NP Area Schools. | Develop / revise PPP handbook |  |  |
| COMMUNICATION |  | Staff will utilize technology to increase communication with parents, students, and administration. |  |  |  |
|  |  | NP schools will communicate and refine technology plan through staff development. |  |  |  |
| INNOVATION |  | The technology committee will stay current in technology trends and innovative programs. |  |  |  |
|  |  | Alternative funding options will be sought. |  |  |  |